# Scientific Theory of the iEEG-recon Pipeline

Reference: Lucas A, et al. *Epilepsia*. 2024;65:817–829. DOI: [10.1111/epi.17863](https://doi.org/10.1111/epi.17863)

# 1. The Clinical and Scientific Problem

Drug-resistant epilepsy affects a substantial fraction of patients with focal seizures. When scalp EEG and noninvasive imaging are insufficient, clinicians implant intracranial electrodes to record directly from brain tissue at millimeter scale. Two dominant implant types are used:

SEEG (stereo-EEG / depth electrodes): thin shafts inserted along planned trajectories through cortex and subcortex.

ECoG (subdural grids and strips): surface arrays placed beneath the skull over cortex.

The electrophysiological signal from each contact is only interpretable in anatomical context: knowing *where* a contact sits relative to hippocampus, temporal neocortex, insula, or resection margin determines whether that channel supports seizure onset, propagation, or eloquent function.

After implantation, the surgical team must answer:

**Where is each contact in the patient's brain?**

**Which anatomical region or tissue class does each contact sample?**

**Do implanted devices (e.g., RNS generators) and leads align with preoperative plans?**

This process is electrode reconstruction (also called localization or coregistration). It bridges post-implant CT (where metal contacts are visible) and pre-implant MRI (where soft-tissue anatomy is visible), then maps contacts into standard atlases for group analysis and clinical reporting.

iEEG-recon formalizes reconstruction as three sequential transformations of information:

Post-implant CT  →  [Module 1]  →  labeled contacts in CT space
                              ↓
                    [Module 2]  →  contacts in native MRI space
                              ↓
                    [Module 3]  →  tissue + parcellation labels per contact

# 2. Why Two Imaging Modalities Are Required

## Post-implant CT

Computed tomography uses X-ray attenuation. Metal electrode contacts and the skull produce very high Hounsfield units (HU). Contacts appear as bright point-like or rod-like structures. CT is therefore the ground-truth modality for contact geometry immediately after surgery.

Limitations of CT alone:

Poor soft-tissue contrast (gray vs. white matter barely distinguishable).

No reliable link to cortical parcellations used in research (Desikan–Killiany, Schaefer, AAL).

Does not match the high-resolution T1w MRI acquired preoperatively for surgical planning.

## Pre-implant MRI

T1-weighted MRI provides excellent anatomical contrast and is the standard basis for:

Neuronavigation during implant planning.

FreeSurfer / ANTsPyNet cortical parcellation.

Comparison with fMRI, DTI, and group templates (MNI space).

Limitations of MRI alone:

Electrodes may not be visible or may appear with different contrast than on CT.

Post-implant brain geometry can differ slightly from pre-implant scans (brain shift for surface grids, edema, resection cavities in repeat surgeries).

## The Core Scientific Task

Reconstruction estimates a spatial correspondence between CT and MRI such that each labeled contact in CT can be assigned anatomically meaningful coordinates in the MRI coordinate system—and, by extension, in atlases registered to that MRI.

Mathematically, Module 2 seeks a rigid transform T mapping CT coordinates x_CT to MRI coordinates x_MRI:

x_MRI = T(x_CT) = R · x_CT + t

where R is a 3×3 rotation matrix and t is a translation vector (6 degrees of freedom, rigid body assumption). Non-rigid brain deformation is handled separately (optional brain-shift correction for ECoG).

# 3. Coordinate Spaces and Data Organization

The pipeline uses a BIDS-like hierarchy so that sessions, modalities, and derivative outputs remain traceable:

| Space code | Meaning |
| --- | --- |
| `T01ct` | Native post-implant CT voxel space |
| `T00mri` | Native pre-implant reference T1w MRI space |
| MNI152 (optional) | Standard template space for group studies |

A subject may have:

Clinical session: post-implant CT + VoxTool labels (`ses-clinical01`).

Research session: high-resolution pre-implant T1w (`ses-research3T`).

Module 2 registers CT to the reference MRI session chosen by the user. All downstream anatomy is expressed in that MRI's native geometry unless optional MNI export is requested.

# 4. Module 1 — Semiautomatic Electrode Labeling (VoxTool)

## Scientific role

Module 1 establishes discrete point observations of contact centroids in CT voxel space, each with a unique identifier (e.g., `LA8` = left array, contact 8). Without these labels, bright voxels on CT cannot be assigned to specific recording channels in the iEEG file.

## Theoretical basis

**Intensity thresholding:** Metal contacts exceed tissue HU by orders of magnitude. Thresholding isolates candidate contact voxels from bone and soft tissue.

**Human-in-the-loop localization:** Fully automatic detection remains error-prone for grids, bent shafts, artifact from RNS hardware, and partial contact visibility. Expert clicking encodes domain knowledge.

**Geometric interpolation:** Grids, strips, and linear depth shafts are **low-dimensional manifolds** in 3D. Once endpoints or seed contacts are placed, linear or grid interpolation estimates remaining contacts under assumptions of regular spacing—reducing manual burden.

## Output

A text file of labeled CT coordinates (`desc-vox_electrodes.txt`) is the input observational dataset for all subsequent modules. Errors here propagate directly to anatomical conclusions; Module 2's QA report is designed to catch gross mislabeling.

## What Module 1 does *not* do

It does not perform registration, parcellation, or tissue classification. It answers only: *"Which named channel corresponds to which point in CT space?"*

# 5. Module 2 — CT-to-MRI Registration

## Scientific role

Module 2 applies the rigid transform T to every labeled contact so that electrophysiology can be interpreted against MRI-visible anatomy (cortex, ventricles, hippocampus, resection cavities on later scans).

## Preprocessing: CT skull / electrode isolation

Before registration, the CT is thresholded so that primarily skull and electrodes remain visible. Rationale:

Mutual information registration between full CT and MRI is dominated by shared skull geometry, which is approximately rigid between scans.

Electrode bright spots provide additional fiducial-like constraints along the skull interior.

Suppressing soft-tissue CT signal reduces misleading matches from postoperative changes.

## Registration algorithms

Greedy (recommended): A multiresolution optimizer maximizing normalized mutual information (NMI) between CT and MRI intensity distributions. NMI is well suited to multimodal alignment because it does not assume linear intensity relationship between modalities—only statistical dependence.

FLIRT (fallback): FSL's linear registration with mutual information cost and histogram binning. Used when Greedy fails or for comparison.

Both estimate 6-DOF rigid transforms. Affine or nonlinear warps are not the default because the primary goal is global head-frame alignment; local brain shift for ECoG is a separate optional step.

## Transform application to contacts

Each VoxTool point p in CT indices/mm is transformed:

p_MRI = T_CT→MRI(p_CT)

The pipeline also generates:

Thresholded CT in MRI space — visual overlay for QA.

Electrode sphere maps — small binary volumes around each contact for visualization.

HTML report + ITK-SNAP workspace — human verification that CT skull and electrodes align with MRI anatomy.

## Quality assurance as part of the scientific method

The paper validates reconstruction with board-certified neuroradiologist review of these overlays—not blind trust in the optimizer. Misregistration of even 2–3 mm can misassign contacts across gyri or gray/white boundaries, directly affecting SOZ interpretation.

# 6. Module 3 — Anatomical and Tissue Assignment

## Scientific role

Once contacts exist in MRI space, Module 3 answers: what brain structure does each contact sample? This enables:

Clinical mapping (e.g., "seizure onset channel sits in left hippocampus").

Research group analyses (common atlas labels across subjects).

Tissue-aware statistics (gray matter vs. white matter vs. CSF sampling).

## Step A — Brain segmentation (ANTsPyNet)

Traditional FreeSurfer `recon-all` parcellation is accurate but slow (~5 hours). iEEG-recon defaults to ANTsPyNet, a deep learning framework built on ANTs and TensorFlow that predicts:

DKT cortical parcellation (Desikan–Killiany–Tourville labels).

Atropos tissue classes (CSF, gray matter, white matter, deep gray, etc.).

Scientific justification: Convolutional networks trained on large neuroimaging cohorts approximate the nonlinear mapping from T1w intensity patterns to tissue class without explicit generative models. Lucas et al. report Pearson r = 0.96 agreement with FreeSurfer for electrode region assignments, with ~30× speedup—making same-day clinical review feasible.

## Step B — Sphere-based ROI assignment

For each contact at position c in MRI mm space, the pipeline constructs a sphere S(c, r) of user-specified radius r (commonly 2 mm). Each atlas label L receives a score:

overlap(L) = |S(c, r) ∩ region_L| / |S(c, r)|

The label with maximum overlap is the primary assignment. The pipeline also exports ranked partial overlaps for all contacted regions—important because:

A 2 mm sphere may span gray/white boundary or sulcal CSF.

Depth electrodes may sit in white matter while nominally targeting a cortical gyrus; secondary overlaps carry scientific meaning.

## Atlas options

| Atlas type | Use case |
| --- | --- |
| DKT (ANTsPyNet) | Lobar / gyral labels (clinical & research standard) |
| Atropos tissues | WM / GM / CSF fractions (matches paper tissue statistics) |
| MNI atlases (AAL, Schaefer, …) | Group templates, functional network labels |
| ASHS, THOMAS | Hippocampal and thalamic subfields |

Optional MNI registration (antsRegistration, fMRIPrep-compatible) warps native MRI parcellations to MNI152 for multicenter aggregation.

## Interpretation caveats

Cortical atlases under-label white-matter contacts: Depth SEEG shafts often show `EmptyLabel` as primary DKT assignment while Atropos correctly reports white matter—this is expected geometry, not pipeline failure.

Radius choice affects labels: Smaller r → more localized; larger r → more mixed partial volumes.

Parcellation is probabilistic at the voxel level: Sphere voting is a pragmatic deterministic summary, not a biophysical model of actual sampling volume of each contact.

# 7. Optional Extensions

## Brain-shift correction (ECoG)

After craniotomy, subdural grids can sink inward relative to preoperative MRI.pial surface. A optional nonlinear energy-minimization step reposition surface contacts onto the pial mesh while preserving inter-contact distances, using FreeSurfer surface geometry. Applies to grids/strips, not depth shafts.

## Post-surgical MRI module

When tissue is resected, a post-op MRI shows a cavity. Registering post-op → pre-op MRI identifies which pre-implant contact locations would have fallen inside the resection—critical for correlating SOZ channels with surgical outcome.

## Defacing and cloud deployment

For multicenter studies, MRI/CT defacing removes facial features before upload. Docker containers ensure identical software versions across sites—controlling a major source of reproducibility variance in neuroimaging pipelines.

# 8. End-to-End Information Flow

[Diagram: see science.md for mermaid flowchart]

# 9. What "Accuracy" Means in the Paper

The Epilepsia validation is clinical and geometric, not a voxel-perfect ground truth for every contact:

**Neuroradiologist approval** of CT–MRI overlays and contact positions.

**Cohort-level tissue statistics** (WM/GM/CSF proportions at 2 mm) consistent with expected SEEG/ECoG sampling.

**Spatial bias** toward temporal lobe in a temporal epilepsy cohort.

**Robustness** across RNS hardware artifact and prior resections.

**Concordance** ANTsPyNet vs. FreeSurfer parcellation labels (r = 0.96).

The pipeline does not claim sub-millimeter ground truth against invasive stereotactic frames in all cases; it claims a practical, fast, reproducible workflow that experts judge acceptable for clinical conference and research.

# 10. Summary Table

| Stage | Question answered | Key method | Output |
| --- | --- | --- | --- |
| Module 1 | Which channel is which point on CT? | Threshold + manual VoxTool + interpolation | `desc-vox_electrodes.txt` |
| Module 2 | Where is that point in MRI space? | Rigid CT↔MRI registration (Greedy NMI) | mm coords, QA HTML, transforms |
| Module 3 | What anatomy does it sample? | ANTsPyNet segmentation + sphere voting | DKT, tissue, optional MNI labels |

Together, these stages implement the standard neurosurgical reasoning chain—visible contacts on CT → patient anatomy on MRI → named brain regions—in a containerized, auditable, and scalable form suitable for modern epilepsy centers and multicenter research.

# References

Lucas A, Scheid BH, Pattnaik AR, et al. iEEG-recon: A fast and scalable pipeline for accurate reconstruction of intracranial electrodes and implantable devices. *Epilepsia*. 2024;65:817–829.

iEEG-recon documentation: https://ieeg-recon.readthedocs.io

ANTsPyNet: https://github.com/ANTsX/ANTsPyNet

VoxTool: https://github.com/penn-cnt/voxTool